## Sheet 1
Calculation Type (Data Type)
1-Hour Average (Mean)
10 Sample 90th Percentile
10% for 30 days
10% for 6 months
10% for 60-Days
11 Sample 90th Percentile
11-Day Median
11-Sample Median
12-Month Average
20% for 30 days
20% of 20 consecutive samples
24-hour Average
3-Month Median
3-Sample Average (Mean)
3-Sample Maximum
3-Sample Median
30-Day 90th%
30-Day Average
30-Day Average of Daily Averages
30-Day Average of Daily Maximums
30-Day Geometric Mean
30-Day Median
4-Day Average (Mean)
4-Day Average of Daily Averages
4-Day Average of Daily Maximums
4-Day Continuous Average
5-Day Geometric Mean
5-Sample Median
5-Year Moving Average
50% of Monthly Means for a Calendar Year
6-Month Median
6-Week Rolling Geometric Mean
7-Day Average (Mean)
7-Day Average of Daily Averages
7-Day Average of Daily Maximums
7-Day Median
90% for a calendar year
90% of a Minimum of 5 Samples in 30-Days
90-Day 90%
90-Day Mean
Annual Average (Mean)
Annual Average of Daily Averages
Annual Average of Daily Maximums
Annual Average of Daily Minimums
Annual loading
Annual Median
Average Monthly (AMEL)
Average Weekly (AWEL)
Daily Average (Mean)
Daily Discharge
Daily Geometric Mean
Daily Maximum
Daily Minimum
Delta from Background
Event Discharge
Geometric Mean of Minimum 5 Samples in 30-Days
High Weekly Average
Instantaneous Maximum (IMAX)
Instantaneous Minimum (IMIN)
Log Mean of Minimum of 4 Samples in 30-Days
Log Mean of Minimum of 5 Samples in 30-Days
Log Mean of Samples in 30-Days
Maximum Daily (MDEL)
Mean of a Minimum of 5 Samples in 30-Days
Mean of Monthly Mean
Median of Minimum of 5 Samples in 30-Days
Monthly 90th%
Monthly 95%
Monthly 95% of Mean Daily
Monthly Average (Mean)
Monthly Average of Daily Averages
Monthly Average of Daily Maximums
Monthly Average of Daily Minimums
Monthly Discharge
Monthly Geometric mean
Monthly Maximum
Monthly Mean
Monthly Median
Monthly Median of Mean Daily
Monthly Minimum
Not Limited
Not to exceed a specific limit in any two consecutive samples
Not to exceed a specific limit more than once within any 30-day period.
Other
Percent Increase
Percent Reduction
Seasonal Average
Seven Sample Median
Single Sample Maximum
Six-Month Median (6MMED)
Weekly Average (Mean)
Weekly Average of Daily Averages
Weekly Average of Daily Maximums
Weekly Discharge
Weekly Geometric Mean