**005J** *Last Updated: 06/12/2013*

*Category:*

Basic

*Title:*

Limitation, Rate, Offstream Storage

*When Used:*

For all rights that include diversion to offstream storage or diversion to underground storage.

*Background/Justification:*

Wat. Code, § 1058

TERM 005J

The maximum rate of diversion to offstream OR underground storage shall not exceed **[Amount] cubic feet or foot per second**\*.

(0000005J)

\* If less than 0.025 cfs, express in gallons per day.